Magnet Measurement Test Plan

| Logistic Info |  |
| --- | --- |
| Person Responsible |  |
| Phone # |  |
| Start Date |  |
| Finish Date |  |
| Acct # for alignment |  |

| Magnet Designation and Type |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project Name |  |  |  |  |
| Magnet Type |  |  |  |  |
| Magnet Name/Number |  |  |  |  |
| Serial # / PC # |  |  |  |  |
| Trim Coils | Yes / No | Trim Types |  |  |
| Magnet gap or diameter (mm) |  |  |  |  |

| Alignment |  |
| --- | --- |
| Coarse (2.0 mm)/Precision (0.05 mm) |  |
| Has the magnet been fiducalized | Yes / No |
| If above is No , what is origin point of the magnet, what is its coordinate system and what surfaces should be used for alignment? (Please provide drawing) | ? |

| Special Alignment Tolerances |  |
| --- | --- |
| X |  |
| Y |  |
| Pitch |  |
| Yaw |  |
| Roll |  |

| Magnet Setup Water and Power (approx) |  |
| --- | --- |
| Water Pressure (PSI) | ? |
| Water Flow (Gpm) | ? |
| Maximum Current Main Coils (Amps) | ? |
| Main Coils resistance (Ohms) | ? |
| Max Current Trims (Amps) | ? |

| Polarity |  |
| --- | --- |
| Main Coil Polarity. | ? |
| Dipole Trim Polarity | ? |
| Quad Trim Polarity | ? |

| Warmup and Standardization |  |  |  |  |
| --- | --- | --- | --- | --- |
| Magnet warm up. Time and Current |  |  | ? mins @ ? Amps |  |
| Number of Stdz cycles |  |  |  |  |
| Ramp Rate (A/s) | ? | Minimum Current (A) |  | ? |
| Settle Time (sec) | ? | Maximum Current (A) |  | ? |
| Ramp Type Linear or Three Linear or Cosine |  |  | ? |  |

| Temperature Tests Most of our stands can measure Δ Temp, Δ Pressure and Flow |  |
| --- | --- |
| Temperature and Resistance Test | Yes / No |
| Other Temp Items to be measured (coils ?) | ? |
| Measured Currents (Amps) | ? |
| Check water flow by hand ? | Yes / No / N/A |

| Integrated Strength |  |  |  |
| --- | --- | --- | --- |
| Main | Yes / No | Currents |  |
| Dipole Trim | Yes / No | Currents |  |
| Quad Trim | Yes / No | Currents |  |

| Harmonics |  |  |  |
| --- | --- | --- | --- |
| Main | Yes / No | Currents |  |
| Dipole Trim | Yes / No | Currents |  |
| Quad Trim | Yes / No | Currents |  |

| Harmonics Tolerances (as % of main harmonic, i.e. main = 100%) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Dipole n = 1 | Quadrupole n = 2 | Sextupole n = 3 | Other n = |
| Main |  |  |  |  |
| Dipole Trim |  |  |  |  |
| Quad Trim |  |  |  |  |

| Field Map |  |
| --- | --- |
| Type of map? (Transverse, axial, 3D) | ? |
| Dimensions ( X, Y, Z) | ? |
| Spacing between step (X, Y, Z) | ? |

Notes and/or Additional Tests: