LCABD WP 4.2 – Spectrometer and BPM Studies
Motivation
BPM and Electronics Development
BPM Simulation
Update on NanoBPM Progress
Update on ESA Progress
Future Plans
The Collaboration
Royal Holloway, University of London (RHUL)
Stewart Boogert, Gary Boorman
University of Cambridge, UK
Mark Thomson, Mark Slater, David Ward
University College, London (UCL)
Derek Attree, Filimon Gournais, Alexey Lyapin, Bino Maiheu, David Miller, Matthew Wing,
LCABD WP 4.2 Review, 12th April 2007 - Mark Slater

---
Motivation – Physics Case
Uncertainty on beam energy measurement contributes directly to the uncertainty on the ILC physics output...
Need for:
Energy measurement accuracy 10-4
Stability and ease of operation
Minimal impact on physics data taking

---
Motivation – Beam Based Energy Measurement
WP 4.2 Mission Statement:
Study and design magnetic chicane for beam energy measurement using BPMs for a future linear collider
δE/E ~ 10-4
At least δx~ 500 nm needed
η ~ 5 mm at center
NanoBPM at ATF: test resolution, try different analysis methods, BPM stability tests, multibunch operation, advanced electronics techniques, inclination of beam in BPMs
ESA at ATF: test stability and operational issues with a full implementation of 4 magnet chicane and 3 BPM stations
BPM
BPM
BPM

---
NanoBPM Update – Hardware Improvements
Locking Box
Built by Bob Meller (Cornell)
Provides the LO signals for the electronics
This phase locks all the electronics to the master 714MHz signal
A reduction of a factor of 1.5 in phase noise was found
Nanogrids
Very precise monitoring of BPM positions relative to the frame
Allowed a measurement of the rigid body motion of the structure
This gives a significant contribution to the achievable resolution (~5nm)
Nanogrid Sensor Heads
~3μrad
~2μrad

---
NanoBPM Update – Results
Rigid Body Motion
By using a similar regression technique used to find the resolution, the rigid body motion could be measured:
< 8.4 nm x
< 4.8 nm y
Resolution Results
Best resolution recorded so far was during April '06:
Position:	15.6nm
Tilt:	2.1rad
From simulation work, electronic, thermal and vibrational noise not dominant. Work in progress...

---
NanoBPM Update – Systematics
~8 hours
Temperature
Frequency changes over the course of 8 hours have been correlated with temperature changes of the BPMs
The change seen is in reasonable agreement with that predicted from thermal expansion arguments
BPM Tilt
The dependence of the calibration on BPM tilt was investigated
A significant dependence of the scale factor was found, the source of which is still under investigation
~60kHz
~0.25C

---
ESA Update – April Run
10D37 Magnets
Relocated BPM4
There were a large number of hardware updates for the April Run:
Installed and tested the full spectrometer chicane
Commissioned an additional energy BPM at high dispersion
Relocated interferometer
Commissioned the UK electronics
Developed a new calibration scheme using Helmholtz coils rather than correctors
Zygo Interferometer

---
ESA Update – Initial Spectrometer Results
Future Location of UK BPM
Zygo Interferometer
A lot of spectrometer data was taken during April
A maximum dispersion of ~5mm was recorded
The mover for the mid-chicane BPM was used to track the beam and these moves could be accurately recorded using the Zygo
Varying the energy at the nominal magnet setting produced clear steps that could be correlated with the energy BPMs

---
ESA Update – Improved Calibrations
In order to improve the stability of the calibrations at ESA, a set of helmholtz coils were commissioned
This had the following advantages over the correctors used previously:
Fast – The required field is reached within a machine cycle
Dithering – This speed allowed fast dithering to be used
Averaging Slopes – Slopes are averaged instead of Set Points
Additionally, calibration schemes now record their set points in an ADC which allow steps to found automatically
A set of automatic calibration scripts to speed up the calibration process have now been developed

---
Purpose Built Cavity
New S-band cavity designed specifically for the Spectrometer by Alexey (2.88 GHz, Qext ~2000, t = 250ns, s ~10-20nm)
Attempted to combine advantages of existing designs:
Monopole suppression
Decay time optimised for analysis
Tunable
Low X-Y coupling
Testing of the Aluminium prototype has been successfully completed
Final copper prototype now complete and ready for installation at ESA
Reference
Dipole

---
Electronics
Variable Attenuation
To ADC
BPM Input
System simulated to
optimise performance
Switchable Cal Tone

---
Electronics Testing
Electronic rack units completed and shipped to SLAC late February in time for the last run
Installation and testing completed over the course of the two week run
Data taken both in parallel with current electronics (two x channels) and 'standalone' (3 y and a q channel)
Initial results indicate a similar resolution achieved by the current electronics, despite not being designed for use on these BPMs (no monopole suppression + diff. freq.)
A lot of calibration data was also taken to check the stability of the electronics
Finally, the automatic calibration routine for the electronics was commissioned successfully (cal tone switched on at 0.1Hz)

---
Simulation Work
The ultimate aim is to build an entire simulation chain from beam orbit to energy measurement
This will include the following `modules':
Spectrometer Simulation – including SR, backgrounds, etc.
RF simulation – To go from a hit location to a waveform at the ADC
Processing – Optimised versions of the processing algorithms used atm
Calibration – Optimised calibration routines
The first pass of these software `modules' are already up and running:
http://cvs.hep.ucl.ac.uk/viewcvs/especSoft/?cvsroot=LC+Energy+Spectrometer
Spectrometer Simulation
Based on GEANT4/BDSIM
Will be used to study:
Synchrotron Radiation
Halo, Charge backgrounds
Magnet design and position
SR 

---
RF Simulation, Processing and Calibration
Remaining components of the simulation chain are bundled together into one library called `libbpm'
This is a library of C routines usable in most applications (ROOT, LabView, etc.)
The RF component currently includes:
Mixers
Filters
Amplification (inc. non-linearity)
Digitisation
The principle method of processing is the Digital Downconversion Algorithm:
Downconvert from the 25MHz IF to DC
Perform gaussian filtering
Additional functions have also been implemented to perform
Waveform fitting
Fourier Transforms
Corrector Calibration
Mover Calibration
Resolution
Simulate Orbit
Generate hits
Generate
waveforms
Process

---
The Future – Hardware
The electronics, including the calibration tones, have all been commissioned and are ready for the new hardware
Both reference and dipole BPMs are ready for mounting at the mid-chicane location in the ESA beamline
A mover has also been ordered and should arrive in time for the next run at ESA
The Future – Software
A new EPICS based control system is being developed for the new hardware to allow remote access to:
BPM output
Attenuation control
Mover control
Temperature readback
The libbpm code library will be central to this system

---
The Future – NanoBPM
~15 mins
Resolution vs. Time
(amplitude cuts applied)
A large amount of data was taken during the last run in December
Several analysis tasks are planned:
Resolution Stability
Calibration Stability
Gain variation of the electronics
Multibunch
Preliminary results are becoming available...
X1 Amp vs. X2 Amp,
3 bunch running

---
The Future – ATF2
We are now involved in the BPM systems to be used in ATF2
The BPMs have already been designed and shown to work well already
We are in the process of designing the BPM control system, again, based on EPICS and the libbpm library
The Future – ESA
This July, we will hopefully install our own mover system and BPM at the mid-chicane location
This will allow more accurate orbit determination through the chicane
Resolution and Stability of both the spectrometer BPM and electronics as well as the chicane as a whole with then be possible

---
LCABD WP 4.2 - Conclusions
We have made a lot of progress in the last 6-12 months in all areas
This is a (very!) brief overview of where we currently stand:
BPM Design and Fabrication – Full prototype ready
Electronics – Commissioned and ready for use
Control Systems – Two systems in development (ESA & ATF2)
Simulation – From spectrometer through to analysis
Consolidated Analysis code – A complete simulation and processing library is now available
NanoBPM – 15.6nm resolution, systematics and multibunch
ESA – Commissioned the chicane and seengood initial energy dependence
We hope to continue this success for as long as possible!