LCABD WP 4.2 – Spectrometer and BPM Studies
Motivation
Final Results from 2006
Upgrades for 2007
Conclusions
The Collaboration
Royal Holloway, University of London (RHUL)
Stewart Boogert, Gary Boorman
University of Cambridge, UK
Mark Thomson, Mark Slater, David Ward
University College, London (UCL)
Derek Attree, Filimon Gournais, Alexey Lyapin,
Bino Maiheu, David Miller, Matthew Wing
`
LCABD WP 4.2 Review, 24th September 2007 - Mark Slater

---
Motivation – Physics Case
Uncertainty on beam energy measurement contributes directly to the uncertainty on the ILC physics output...
Need for:
Energy measurement accuracy 10-4
Stability and ease of operation
Minimal impact on physics data taking

---
Motivation – Beam Based Energy Measurement
WP 4.2 Goals:
Study and design magnetic chicane for beam energy measurement using BPMs for a future linear collider
δE/E ~ 10-4
At least δx~ 500
nm needed
η ~ 5 mm at center
BPM
BPM
BPM
NanoBPM at ATF: test resolution, try different analysis methods, BPM stability tests, multibunch operation, advanced electronics techniques, inclination of beam in BPMs
ESA at ATF: test stability and operational issues with a full implementation of 4 magnet chicane and 3 BPM stations

---
NanoBPM Update – Results
~8 hours
Temperature
Frequency changes over the course of 8 hours have been correlated with temperature changes of the BPMs
The change seen is in reasonable agreement with that predicted from thermal expansion arguments
Resolution Results
Best resolution recorded so far was during April '06:
Position:	15.6nm
Tilt:	2.1rad
From simulation work, electronic, thermal and vibrational noise not dominant.
Now published in NIM: A578:1-22,2007
~60kHz
~0.25C

---
ESA 2006 (T474) Update
Final analysis of the data taken in 2006 is almost complete
A lot has been learned from this data:
Algorithm optimisation
Calibration optimisation
Dominant Systematics
Required hardware upgrades

---
ESA 2006 (T474) Results – Calibration Stability
Two types of calibration were used
Corrector – enables calibration of all BPMs
Mover – Accurate steps and can use outer BPMs to remove beam jitter
More accurate calibrations could be found by using the mover calibration for one BPM to correct the those of the others
Mover Cals
Over a 20 hour period, the variation in calibration constants were found to be:
Frequency: ~5kHz
IQ Phase: 0.01 rad
Scale: ~1%
Given a typical offset of ~200 m, this was predicted to have the following effect
Precision: ~150nm
Accuracy: ~2-10μm
Corrector Cals

---
ESA 2006 (T474) Results – Short Term Precision Stability
BPMs 9-11
Linked
NOTE:
All values in μm
`Linked' refers to predicting the position at BPM 3 using BPMs 1-2 and 9-11
* Geometric Factor not removed

---
ESA 2006 (T474) Results – Long Term Precision Stability
BPMs 3-5
BPMs 9-11
NOTE:
All values in μm
`Linked' refers to predicting the position at BPM 3 using BPMs 1-2 and 9-11
The stability test was extended over a 20 hour period
BPMs 1 and 2 were limited by the thermal stability of the electronics
BPM 11 had a significant shift in frequency and a consequent change in calibration after 8 hours
* Results from only 8 hours rather than 20 hours

---
ESA 2006 (T474) Results – Systematics
Several systematic sources were investigated
Temperature
Magnetic Field
Vibrational Motion
Charge
Offset
Temperature was found to be limiting the stability for most BPMs due to a change in calibration
The Earth's field was found to produce an offset of 1.2 μm with a change in energy of 200 MeV
Vibrational Motion was found to dominate the precision of BPM 4
There was some slight dependence of the residuals on position and charge
Temperature Variation - ESA
Temperature Variation – CHA
Energy Variation vs. BPM Offset
FFT of Vibrational Motion

---
ESA 2006 (T474) – Conclusions
The algorithms and systems used during 2006 running have been optimised to achieve the best precision and stability of the BPMs
Precision of 250nm or better has been achieved and maintained for several BPMs over a minimum of 1 hour and a maximum of 8 hours
Limitations on these results was found to be due to
Electronic Noise
Vibrational Motion
Temperature Induced Calibration Changes
All analysis for this paper has been completed using the `home-grown' libbpm library and has proved this code is ready for deployment in both online and offline systems
A NIM paper is in its third (and hopefully final) draft
Submission planned for end of September/beginning of October

---
ESA 2007 (T491) – Progress in 2007
A number of upgrades were carried out at ESA preceding this years running
These included
UK BPM, Mover and electronics
Calibration Tone
Calibration routine using Helmholtz Coils
The major part of the upgrade was the installation of the four dipole magnets that formed a working spectrometer prototype
Zygo Interferometer
Location of UK BPM

---
ESA 2007 (T491) – UK Hardware
An entire BPM system including mover and electronics has been designed and built by the group
Installation of the electronics was performed in early 2007 with the BPM and mover installed in time for the July run
The electronics were tested on BPMs already present (9-11) and comparable precisions were found as with the SLAC electronics (~150nm)
The mover and read back system was tested using the interferometer and was shown to work to a high degree of accuracy
The BPM showed considerable cross-talk due to manufacturing problems
A precision of 1.5 – 2 μm was achieved.
See Bino's talk for more info on the UK equipment and future plans...
Electronics
Mover
BPM

---
ESA 2007 (T491) – Calibration Tone
The installed UK BPM electronics also included a CW calibration tone that could be used to check gain and phase variation
The signal was split to go through the electronics of all the BPMs
Using the 0.1 Hz trigger supplied by the SLAC control system, `online' calibration drifts could be corrected
Initial (offline) checks have been made showing the variation of gain and phase with temperature
(M. Christiakova/Berkeley)
Amplitude vs. Temperature
Phase vs. Temperature

---
ESA 2007 (T491) – Helmholtz Calibration
Calibrating using the upstream steel correctors was found to be inaccurate due to drifts in the beam position during a cal step
Another method was implemented that involved using helmholtz coils
These could reach the desired field strength almost instantly and therefore a dithering calibration could be used
Instead of averaging over 50-100 events in each step, the scale was determined for a cal consisting of 5 events per step
The scales were then averaged over several cals resulting in an improvement of scale variation from 40% to 5-10%
ADC values were set indicating the position in the cal cycle allowing automation of the calibration
Position vs. Time
ADC vs. Time

---
ESA Update – Initial Spectrometer Results
Residual Field vs. Chicane Length (vertical)
(S. Kostromin/Dubna)
The magnets were profiled in Nov. 06
Field Integral RMS Stability: 60ppm
Bdl relative RMS Stability: 100ppm
The beam energy was changed and the central BPMs moved to follow the deflection
Step were clearly seen and could be correlated with the upstream `Energy BPM'
Current energy resolution: ~10 MeV
Energy vs. Time

---
LCABD WP 4.2 – Conclusions
The work completed in 2006 at both ATF and ESA has been written up and has either been or will be published. In summary, we have demonstrated:
15.6nm position resolution within a triplet
~800nm position resolution across a 40m beamline
Stability within a triplet of a few hundred nm over 1-8 hours
An understanding of the systematic issues dominating the BPMs
In 2007, the following was achieved at ESA:
Installation and commissioning of UK BPM, Mover and Electronics
Improved calibration scheme
Introduction of a calibration tone to improve on results from 2006
Installation and operation of a full spectrometer chicane
Now on to LCABD2...